GTI MAX connect

GTI MAX CONNECT is a multi-layered interlocking loose lay vinyl tile with polyurethane treatment (PUR+), 6 mm thick with a dovetail joint, abrasion group T. It is manufactured by GERFLOR using a continuous and exclusive high pressure process.

The GTI MAX CONNECT wear layer is reinforced by specific oblong fillers that offers an outstanding resistance to traffic.

GTI MAX CONNECT is reinforced with 2 glass fiber grids on either side of an intermediate pressed homogeneous layer.

GTI’s backing is a 4 mm thick black pressed homogeneous sheet, its surface is a colored and reinforced homogeneous sheet 2 mm thick.

It is made of 100% controlled recycled materials.

It is 100% recyclable and made with up to 80% recycled content.