Mipolam Classic 2mm

MIPOLAM CLASSIC 2mm is a flexible homogeneous calendered compacted floorcovering in tiles or in 2m sheets, with a thickness of  2mm and a weight of ≤ 3300 g.

This directional design, colour dyed as a raw mixture to ensure even colour throughout the thickness is available in 18 references.

Its surface is densely compacted for improved wear and ease of maintenance.

It receives a polyurethane (PUR) surface treatment for ease of maintenance and to avoid the use of an immediate acrylic emulsion after installation.

The flooring complies with the ISO 10581 (34 - 43) and EN ISO 10581, has a binder content type II, has Bfl-s1 fire resistance. It is suitable for heavy traffic areas.

It is 100% recyclable.

Its VOC emissions after 28 days (ISO 16000-6) are below detection levels (<10 μg / m3) and this product is classified A + (the best class).