## SPECIFICATION

# ELASTO’PUNCH 200E

WALL PROTECTION RAIL – 200 MM HIGH

- Description: E-shaped flat protection rail in non-rigid and smooth thermoplastic elastomer (Elasto’Punch 200E as manufactured by SPM) comprising a 200 mm height profile, 15 to 30 mm thick, solid colour, giving it excellent impact-resistance properties and good ageing and UV resistance.

- Environment: no heavy metals are used in its formulation, nor PBT/BPA. 100% of the product are recyclable.

- Colour: black.

- Installation method: by screwing.