## SPECIFICATION

# FIN’ALU – JOINTING PROFILE H SHAPE

JOINTING PROFILE FOR 2 MM PANELS

DECOCHOC, DECOSMIC, DECOWOOD ET DECOTREND PANELS

- Description: jointing profile (H shape) in satin silver anodised aluminium (Fin’Alu jointing profile in H shape as manufactured by SPM) designed for vertical or horizontal jointing between 2 mm thick protection panels (Decochoc, Decosmic, Decowood or Decotrend as manufactured by SPM). Smooth surface. The profile, 3 m long and 42 mm wide (visible part), glues onto the continuous aluminium rail, 55 mm wide (hidden part), fixed to the wall by gluing or screwing.

- Colour: selected by architects from manufacturer’s standard range.

- Installation method: gluing onto aluminium rail to glue or screw to wall as per manufacturer’s instructions.

## SPECIFICATION

# FIN’ALU – FINISHING PROFILE J SHAPE

FINISHING PROFILE FOR 2 MM PANELS

DECOCHOC, DECOSMIC, DECOWOOD ET DECOTREND PANELS

- Description: finishing profile (J shape) in satin silver anodized aluminium (Fin’Alu finishing profile in J shape as manufactured by SPM) designed for vertical or horizontal finishing for 2 mm thick protection panels (Decochoc, Decosmic, Decowood or Decotrend as manufactured by SPM). Smooth surface, 3 m long, 18 mm wide for the visible part and 37.5 mm for the hidden part fixed to the wall.

- Colour: selected by architects from manufacturer’s standard range.

- Installation method: glue as per manufacturer’s instructions or screwing to wall.