TECHNIC EL5

MIPOLAM TECHNIC EL5 is a conductive flexible homogeneous compacted vinyl floorcovering available in tiles.

The conductive carbon coated PVC pellets create a perfect conductive network for permanent conductive properties and antistatic properties (< 100 V) throughout its full life expectancy.

It acts as a continuous conductive 104 ≤ Rt ≤ 106 (EN 1081).