GTI MAX CONNECT is a multi-layered, loose-lay vinyl tile with a thickness of 6 mm, reinforced by two glass fiber grids. These tiles can be installed using an interlocking system with dovetails.

GTI MAX CONNECT features a 2 mm homogeneous vinyl wear layer, manufactured through a continuous high-pressure process offering exceptional resistance to heavy traffic and static loads (CSTB classification for industrial floors R2 and UPEC classification U4P4S).

GTI MAX CONNECT is treated with Polyurethane (PUR) surface treatment, ensuring easy maintenance and preventing staining from various chemicals used in industrial settings. This treatment boasts excellent maintenance characteristics and requires no waxing for its entire lifespan.

GTI MAX CONNECT possesses permanent antistatic properties: <2000V (EN1815).

GTI MAX CONNECT is non-emissive of volatile organic compounds, with levels <10 μg/m³ (TVOC after 28 days, ISO 16000-6).