[image: image1.png]Gerflor





CREATION 70 MEGACLIC

CREATION 70 MEGACLIC is a synthetic, decorative, flexible, antistatic, abrasion group T floor coverings available in tiles and planks, with beveled edges. It consists of a 0,70 mm thick transparent wear layer, a design film and reinforced with glass fiber particles, combined with a flexible core top layer to provide softness and comfort surface. The overall thickness is 6 mm.

They benefit from a cross-linked polyurethane surface treatment (ProtecShield), making maintenance easier and eliminating the need for initial polishes. 

CREATION 70 MEGACLIC is an interlocking floor covering assembled with a double vertical clic on the long and short side for a quick and solid installation. The resistance to use (commercial / industrial use) of 34 / 43 according to EN-ISO 10874 and has Bfl-s1 class for smoke emission according to EN 13501-1.
CREATION 70 MEGACLIC is made with phthalate free plasticizers, except recycled content. It is 100% recyclable and made with 29% recycled content. It is REACH compliant. The product emission rate of organic compounds is < 10µg/m3 (TVOC <28 days – ISO 16000-6).

Product Description

gerflor.com

[image: image1.png]