
      [image: image1.jpg]Gerflor




GUIDE SPECIFICATION
RESILIENT BASE AND ACCESSORIES
(Section 096513)
Gerflor®  Floor Clean Corner System
This is an editable document for preparing project specifications for Gerflor Flooring 1.5 Radius Clean Corner System.
How to use this Guide Specification:

This is an “edit-out” document with specification language for several project options.              Select appropriate text based on the project requirements and delete (edit out) all other text.
· Specifier notes are shown in blue like this: Editor Notes
· Locations, where language for Project-specific requirements is to be inserted or selected are indicated like this: [insert] or [select text]. 
· Finally, remove Editor Notes and any unused optional text in the final version of the specification document. 
This document contains trademarks owned by Gerflor, including Gerflor Floor Clean Corner System.
Gerflor USA, 750 Veterans Parkway, Bolingbrook, IL 60440 USA. Phone: (877) 437-3567.                E-mail: info@gerflorusa.com. Website: gerflorusa.com 

SECTION 097200
PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes: Materials and Installation of 1.5 Radius Gerflor Floor Clean Corner System
1.2 ACTION SUBMITTALS 

A. Product Data: For each type of product indicated.

B. Manufacturer Certifications:

1. Provide certification that accurately identifies the Original Equipment Manufacturer (OEM) for this project including manufacturer’s name, address, and factory location. 

a. Suppliers of Private-Label Corner System for this project must identify themselves as such and fully disclose the OEM information listed above. 
b. All “manufacturer” requirements in these specifications must be complied with by the OEM, including warranties, certifications, qualifications, product data, test results, environmental requirements, performance data, etc. 

2. Provide ISO 9001 certification for the OEM of the specified products.

3. Provide ISO 14001 certification for the OEM of the specified products.
4. Provide ISO 45001 certification for the OEM of the specified products.

C. Shop Drawings: Showing installation details and locations of each clean corners system and joining method. Including seams to flooring.
D. Samples:

1. Profile samples: Inside and Outside 1.5 radius profiles
E. Quality Assurance Submittals:

1. Manufacturer’s Instructions: Current published installation and maintenance instructions. 
1.3 INFORMATIONAL SUBMITTALS

A. Qualification Data:

1. For a qualified Corner Manufacturer.

1.4 CLOSEOUT SUBMITTALS

A. Submit three copies of the following:

1. Manufacturer maintenance instructions.

2. Manufacturer material warranty.

1.5 QUALITY ASSURANCE

A. Manufacturer Qualifications:

1. ISO 9001 Certified.

2. ISO 14001 Certified.

3. ISO 45001 Certified.

4. At least ten years’ active experience in manufacturing and marketing 1.5 Radius Corner Systems.

5. A provider of authorized installer training.

B. Installer Qualifications:

1. At least five years’ experience in the installation of Gerflor Floor Corner System.

2. Experience on at least five projects of similar size, type, and complexity as this project.

3. Employer of workers for this Project who are competent in techniques required by manufacturer for clean corner installation indicated.

C. Fire Test Characteristics: As determined by testing identical products according to ASTM E648, Class 1, by a qualified testing agency acceptable to authorities having jurisdiction.

1.6 DELIVERY, STORAGE, AND HANDLING

A. Store Clean Corner System and installation materials in protected dry spaces, raised off the ground, in ambient temperatures maintained within range recommended by manufacturer, but not less than 65° F (13° C) nor more than 85° F (29° C).

B. Store the corner profiles Inside on a smooth flat surface immediately upon delivery to Project. For more information, reference the current installation guide
1.7 FIELD CONDITIONS

A. Product Installation:
1. Maintain temperatures during installation within range recommended by manufacturer, but not less than 65° F (18 ° C) in spaces to receive clean corners one week before installation, during installation, and one week after installation.
2. After installation, maintain temperatures within range recommended by manufacturer, but not less than 65° F (13° C) or more than 85° F (29° C).
3. Prohibit traffic during installation and for at least 48 hours after installation.
B. Install Clean Corner System only after other finishing work, including painting and overhead work, has been completed. For more information, reference the current installation guide.
C. Manufacturer Certification of Environmental Procedures:
1. Original Equipment Manufacturers (OEM) ISO 14001 Certification 
D. Manufacturer’s Certification to Inhibit the Spread of Bacteria

1. Product certified ISO 22196 compliant to inhibit the spread of bacteria at 99.9%

1.8 COORDINATION

A. Coordinate layout and installation of Clean Corner System with other equipment.
PART 2 -  PRODUCTS
2.1 Manufacturer: Gerflor USA
1. 750 Veterans Pkwy, Bolingbrook, IL 60440
Phone Number: 877-437-3567

Orders@gerflorusa.com
Editor Note: Select specific Clean Corner System design and description where indicated. 

B. Basis-of-Design Manufacture: Subject to compliance with requirements, provide Gerflor 1.5 Radius Clean Corner System 
[Clean Corner System Inside Profile [insert design] 
[image: image2.png]



[Clean Corner System Outside Profile [insert design]
 [image: image3.png]



Editor Note: 
Select one of the following 3 paragraphs to address consideration of additional manufacturers: 

If no substitutions will be accepted:

C. Substitution Limitations:

1. No substitutions. 
If products from other manufacturers will be considered, insert the manufacturer’s name and the product name and/or model number:

D. Other Manufactures: Subject to compliance with all the requirements of this specification, provide products by one of the following:

1. [Insert clean corner system manufacturer name] : [Insert clean corner system product name/model].

If other manufacturers are allowed to submit requests for approval prior to bid:

E. Substitution Limitations:

1. All other manufacturers: Submit formal substitution request prior to bid in accordance with Section 012500 - "Substitution Procedures”.

2. Approval by Architect of other manufacturers does not relieve Contractor of responsibility to provide products that comply with all requirements of this specification.  
F. Product Description:  Non-porous antibacterial 1.5 radius Floor Clean Corner Profiles.
1. Overall Thickness: 
2. Standard Width and Length: 
3. Surface: Smooth for highly hygienic areas

4. Seaming Method:  Weld
5. Adhesive Method: Tape
6. Field-Applied Finishes: None required and not allowed.
7. Color and Pattern: 

a. As selected by Owner from manufacturer's standard colors and patterns.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Verify the Following:

1. The area in which the Gerflor Clean Corner System will be installed is dry, weather-tight, and compliant with specified requirements.

2. Permanent heat, lighting, and ventilation systems are installed and operable.

3. Other work, including overhead work, that could cause damage, dirt, dust, or otherwise interrupt installation has been completed or suspended.

4. No foreign materials or objects are present on the substrate, and it is clean and ready for preparation and installation.

5. Clean Corner System must be at the same temperature as the premises in which they are to be installed (for at least 24 hours) to prevent distortion.
6. Holes must be filled before the installation.
7. Check the wall’s surface to ensure it is clean, sound, and smooth.
3.2 PREPARATION

A. Prepare substrates per manufacturer's written recommendations. 
B. Substrate Preparation
1. Verify that substrates are smooth and dry.  Remove coatings and other substances that are incompatible with adhesives using methods recommended by manufacturer.
C. Wall surface to be smooth and free of containments. 
D. Sweep and then vacuum substrates immediately before installation. After cleaning, examine substrate for moisture, grit, dust, or other contamination. Proceed with installation only after unsatisfactory conditions have been corrected.
3.3 INSTALLATION – Clean Corner Systems
A. General:

B. Protect clean corners from abrasions, indentations, and other damage from subsequent operations and placement of equipment, during remainder of construction period.
C. Follow Gerflor’s Clean Corner Systems written installation instructions.

D. Ensure all heat welds are intact, properly fused, and trimmed neatly.

E. Remove construction debris from project site, recycle all applicable material and legally dispose.
END OF SECTION
PAGE  
Page 1 of 10
February 2025

