TARALAY INITIAL ACOUSTIC

The selected floor covering is an acoustic multilayer vinyl flooring, reinforced with a fiberglass grid, featuring a transparent, non-charged wear layer (0,65mm) and classified as abrasion group T. It is supplied in 2.00 m wide rolls. The product offers great resistance to indentation, down to 0.10 mm, and provides an excellent acoustic insulation performance of 19 dB.

Taralay Initial Acoustic contains 17% recycled content and 54% mineral materials. It is phthalate free and fully recyclable. Installation offcuts, as well as certain end of life floorings, can be collected and recovered through the Gerflor Second Life program.

The product is guaranteed to be free from formaldehyde, heavy metals, CMR 1 & 2 substances, vPvB or PBT substances, and is 100% compliant with the REACH regulation. VOC emissions after 28 days (NF EN 16000) are < 10 µg/m³.

It is equipped with the Protecsol® UV cured surface treatment, providing anti soiling protection that permanently eliminates the need for metallisation or spray cleaning methods.

The flooring is antistatic (Class 1) and features antibacterial activity certified to ISO 22196, enabling a 99% reduction in bacteria (E. coli, S. aureus, MRSA within 24 h). In accordance with ISO 21702, it also demonstrates antiviral activity on human Coronavirus, achieving a 99.3% reduction within 2 hours.

Taralay Initial Acoustic has a low carbon footprint, and an individual EPD is available in 2026.

Product description                                                                                                            gerflor.com